## Slide 1: Range of Motion Measurement of Articulatio cubiti Based on Hough Transformation

## Slide 2: Author
Mastri Cahyaningtyas Pediyanti
Riries Rulaningtyas
Akif Rahmatillah
Katherine
Biomedical Engineering, Physics Department, Faculty of Science and Technology, Universitas Airlangga, Surabaya, Indonesia

## Slide 3: Introduction

## Slide 4: Range of Motion (ROM)
Classify the severity of injury or disease
Measure the rehabilitation effectivity
Design an exoskeleton
Measurement of the ability of joints movement
Parameters in physical rehabilitation
ROM

## Slide 5: Range of Motion (ROM)
Measurement of the ability of joints movement
Parameters in physical rehabilitation
ROM
Blood circulation
Neurological
Joints
Ligaments

## Slide 6: ARTICULATIO CUBITI
MOST OFTEN INJURED
Humerus
Radius
Ulna
BONES
Biceps brachii
Brachial & brachioradial
Triceps brachii
MUSCLES
ELBOW
Flexion movements
Extenxion movements

## Slide 7: ARTICULATIO CUBITI
MOST OFTEN INJURED
ELBOW
Flexion
Extension
Pronation
Supination
ROM
Repetitive movements
Trauma
Rehabilitation Effectiveness

## Slide 8: ARTICULATIO CUBITI
MOST OFTEN INJURED
ELBOW
NO Misdiagnosis
Accurate
Precise
ROM
Repetitive movements
Trauma

## Slide 9: ROM MEASUREMENT
Still requires a human intervention
Requires high clinical experience from a therapist or doctor.
Cannot be used for ROM measurement in certain joints
Goniometer

## Slide 10: KINECT SENSORS
Vertical viewing angle of 430
Horizontal viewing angle of 570
Distance: 1.2 m to 4 m
Depth range: 400mm to 800mm

## Slide 11: HOUGH TRANSFORM
C
A
The line ρ = xcosθ + ysinθ in the image space corresponds to ρ0,θ0 in the Hough space, and vice versa.
The point (x0, y0) in the image space corresponds to the sine curve in the Hough space.
N points on the line in the image space correspond to n curves in the Hough space
an image processing technique that aims to recognize lines, circles, and even unusual shapes automatically

## Slide 12: System Design

## Slide 13: Flow Diagram
Image Segmentation Using Thresholding Method
Image Morphology Operations Using Thinning Method
Skeletal Tracking Detection Using Hough Transform
ROM Measurement
Python programming
Distance
220 cm
300 cm
140 cm
ROM values
10 variations ​​
with intervals of 4o to 120o.

## Slide 14: Result

## Slide 15: ROM Measurement
ROM Variations- | ROM Value () | Goniometer Value () | ROM Variations- | ROM Value () | Goniometer Value ()
1 | 21.12 | 20.00 | 6 | 69.38 | 72.00
 | 25.14 |  |  | 72.40 | 
 | 21.12 |  |  | 70.39 | 
2 | 31.17 | 32.00 | 7 | 78.43 | 76.00
 | 33.18 |  |  | 78.43 | 
 | 33.19 |  |  | 78.44 | 
3 | 44.24 | 48.00 | 8 | 92.51 | 94.00
 | 47.26 |  |  | 98.54 | 
 | 46.26 |  |  | 97.54 | 
4 | 57.32 | 58.00 | 9 | 100.56 | 98.00
 | 59.33 |  |  | 99.55 | 
 | 56.31 |  |  | 100.56 | 
5 | 66.37 | 68.00 | 10 | 105.59 | 104.00
 | 67.37 |  |  | 107.59 | 
 | 65.36 |  |  | 107.60 | 
ROM Variations- |  |  | ROM Variations- |  | 
1 | 21.12 | 20.00 | 6 | 69.38 | 72.00
 | 25.14 |  |  | 72.40 | 
 | 21.12 |  |  | 70.39 | 
2 | 31.17 | 32.00 | 7 | 78.43 | 76.00
 | 33.18 |  |  | 78.43 | 
 | 33.19 |  |  | 78.44 | 
3 | 44.24 | 48.00 | 8 | 92.51 | 94.00
 | 47.26 |  |  | 98.54 | 
 | 46.26 |  |  | 97.54 | 
4 | 57.32 | 58.00 | 9 | 100.56 | 98.00
 | 59.33 |  |  | 99.55 | 
 | 56.31 |  |  | 100.56 | 
5 | 66.37 | 68.00 | 10 | 105.59 | 104.00
 | 67.37 |  |  | 107.59 | 
 | 65.36 |  |  | 107.60 | 
First distance
Second
distance
Third distance

## Slide 16: ROM Measurement
ROM Variations- | ROM Value () | Goniometer Value () | ROM Variations- | ROM Value () | Goniometer Value ()
1 | 8.05 | 8.00 | 6 | 72.91 | 72.00
 | 6.03 |  |  | 70.89 | 
 | 4.03 |  |  | 67.88 | 
2 | 17.10 | 16.00 | 7 | 76.43 | 80.00
 | 14.07 |  |  | 76.42 | 
 | 12.07 |  |  | 68.38 | 
3 | 39.22 | 32.00 | 8 | 90.51 | 94.00
 | 29.16 |  |  | 87.48 | 
 | 34.19 |  |  | 81.46 | 
4 | 44.25 | 40.00 | 9 | 97.55 | 104.00
 | 37.20 |  |  | 96.53 | 
 | 40.23 |  |  | 91.51 | 
5 | 63.36 | 60.00 | 10 | 112.63 | 114.00
 | 60.33 |  |  | 108.60 | 
 | 57.32 |  |  | 102.57 | 
ROM Variations- |  |  | ROM Variations- |  | 
1 | 8.05 | 8.00 | 6 | 72.91 | 72.00
 | 6.03 |  |  | 70.89 | 
 | 4.03 |  |  | 67.88 | 
2 | 17.10 | 16.00 | 7 | 76.43 | 80.00
 | 14.07 |  |  | 76.42 | 
 | 12.07 |  |  | 68.38 | 
3 | 39.22 | 32.00 | 8 | 90.51 | 94.00
 | 29.16 |  |  | 87.48 | 
 | 34.19 |  |  | 81.46 | 
4 | 44.25 | 40.00 | 9 | 97.55 | 104.00
 | 37.20 |  |  | 96.53 | 
 | 40.23 |  |  | 91.51 | 
5 | 63.36 | 60.00 | 10 | 112.63 | 114.00
 | 60.33 |  |  | 108.60 | 
 | 57.32 |  |  | 102.57 | 
First distance
Second
distance
Third distance

## Slide 17: ROM Measurement
ROM Variations- | ROM Value () | Goniometer Value () | ROM Variations- | ROM Value () | Goniometer Value ()
1 | 1.00 | 6.00 | 6 | 63.35 | 64.00
 | 7.04 |  |  | 66.87 | 
 | 5.03 |  |  | 68.88 | 
2 | 18.10 | 22.00 | 7 | 71.40 | 75.00
 | 15.08 |  |  | 67.37 | 
 | 21.11 |  |  | 73.41 | 
3 | 30.17 | 32.00 | 8 | 90.50 | 86.00
 | 27.15 |  |  | 92.51 | 
 | 28.15 |  |  | 92.51 | 
4 | 47.26 | 40.00 | 9 | 100.56 | 98.00
 | 38.21 |  |  | 97.54 | 
 | 47.26 |  |  | 107.60 | 
5 | 54.30 | 56.00 | 10 | 118.66 | 112.00
 | 61.34 |  |  | 119.66 | 
 | 59.33 |  |  | 119.66 | 
ROM Variations- |  |  | ROM Variations- |  | 
1 | 1.00 | 6.00 | 6 | 63.35 | 64.00
 | 7.04 |  |  | 66.87 | 
 | 5.03 |  |  | 68.88 | 
2 | 18.10 | 22.00 | 7 | 71.40 | 75.00
 | 15.08 |  |  | 67.37 | 
 | 21.11 |  |  | 73.41 | 
3 | 30.17 | 32.00 | 8 | 90.50 | 86.00
 | 27.15 |  |  | 92.51 | 
 | 28.15 |  |  | 92.51 | 
4 | 47.26 | 40.00 | 9 | 100.56 | 98.00
 | 38.21 |  |  | 97.54 | 
 | 47.26 |  |  | 107.60 | 
5 | 54.30 | 56.00 | 10 | 118.66 | 112.00
 | 61.34 |  |  | 119.66 | 
 | 59.33 |  |  | 119.66 | 
First distance
Second
distance
Third distance

## Slide 18
Chart: ROM Value
| 22.46 | 32.51 | 45.92 | 57.65 | 66.37 | 70.72 | 78.430000000000007 | 96.2 | 100.22 | 106.93
Jarak Pertama | 20 | 32 | 48 | 58 | 68 | 72 | 76 | 94 | 98 | 104
LINEARITY
(Linear Regression)
First distance
Second
distance
Third distance

## Slide 19
Chart: ROM Value
Chart: ROM Value
| 8 | 16 | 32 | 40 | 60 | 72 | 80 | 94 | 104 | 114
Jarak Kedua | 6.04 | 14.41 | 34.19 | 40.56 | 60.34 | 70.56 | 73.74 | 86.48 | 95.2 | 107.93
LINEARITY
(Linear Regression)
First distance
Second
distance
Third distance

## Slide 20
Chart: ROM Value
| 4.3600000000000003 | 18.100000000000001 | 28.49 | 44.24 | 58.32 | 66.37 | 70.73 | 91.84 | 101.9 | 119.33
Jarak Ketiga | 6 | 22 | 32 | 40 | 56 | 64 | 75 | 86 | 98 | 112
LINEARITY
(Linear Regression)
First distance
Second
distance
Third distance

## Slide 21
LINEARITY
(Linear Regression)
First distance
Second
distance
Third distance
99.59%
99.46%
99.27%
linearity and correlation
Distance

## Slide 22
SENSITIVITY
First distance
Second
distance
Third distance
97.38%
92.28%
91.68%
Sensitivity
Distance

## Slide 23: ACCURACY
Chart: Distance (cm)
| 140 | 220 | 300
 | 96.64 | 92.51 | 90.25
PRECISION
Chart: Distance (cm)
| 140 | 220 | 300
 | 1.6541 | 5.9222 | 7.2759
GOOD
ACCURACY
GOOD
PRECISION

## Slide 24: CONCLUTIONS
Distance | Linearity | Sensitivity | Accuracy | Precision
First-140 cm | 99.59% | 97.38% | 96.64% | 1.65%
Second-220 cm | 99.46% | 92.28% | 92.51% | 5.92%
Third-300 cm | 99.27% | 91.68% | 90.25% | 7.28%
ROM measurement performance on Articulatio cubiti based on Hough Transformation
BEST

## Slide 25: CONCLUTIONS
Sensitivity
Distance
Precision
Accuracy
Linearity
ROM measurement using Hough transformation method based on Hough Transformation

## Slide 26: THANK YOU